## Slide 1
ABSTRACT
RESULTS AND DISCUSSION
CONCLUSIONS AND FURTHER RESEARCH
In the coming weeks, I will continue to refine the project’s website, create a June newsletter, and begin engaging with the new Breathe Providence Facebook page. Expanding our social media presence will hopefully further our reach and allow community members to stay up to date with this work.
ACKNOWLEDGMENTS
[TEXT HERE]
Breathe Providence: Towards a Distributed Method for Quantifying the Reliability of Low-Cost Air Quality Sensors
Mike Woodilla — Advisor: Professor Meredith Hastings
Above: Open and click rates for the March 2023 quarterly newsletter, in comparison to average non-profit newsletters’ performance. As of late April, the newsletter has an audience of 45 people. Below: Breakdown of which pages on breatheprovidence.com have received the most views since December 20, 2022 (around the beginning of the website’s publication). Our home page has received the most traffic, followed by Data, Meet the Team, Our Monitors, and an interview by South Providence Neighborhood Association President Dwayne Keys. This graph highlights how our audience is engaging with both the scientific and community aspects of our project. However, since the scientific pages do receive higher traffic overall, it may be wise to cater more of our content to audiences interested in this type of information. At the same time, this data may also emphasize our need to continue refining and promoting our community-related material so as to attract a wider audience with these interests.
Low-cost sensors for measuring common air pollutants have made urban air quality research possible at high spatial and temporal resolution. This high-resolution data can be used to identify air quality events and trends at scales that are impractical for expensive reference-grade instruments to measure, however calibration of low-cost sensors remains challenging. Sensor applications in large distributed air quality monitoring networks further complicate calibration needs – laboratory calibration translates poorly after sensor deployment and requires downtime for every sensor in the network, and in situ gas calibration requires frequent site visits to account for seasonal interferences to sensor measurements. Alphasense electrochemical gas sensors and Plantower nephelometric particulate matter sensors are also known to be cross-sensitive to temperature and relative humidity, which are seasonally-dependent and can cause poor sensor performance, especially in summer months, and induce drift over time.
This project seeks to characterize the reliability of carbon monoxide and fine particulate matter (FPM) sensors in the Breathe Providence air quality monitoring network using distributed methods. Reliability of Alphasense CO-B4 carbon monoxide sensors is examined over time with respect to season and length of sensor deployment (i.e. sensor age). Time series and distribution drift (binned by season and month since sensor deployment) are quantified using residual values and f-Divergences compared to reference distributions. Due to the limited availability of reference-grade air quality monitoring stations operated by the Environmental Protection Agency in the city of Providence, the first year of sensor deployment data is used as a reference (with measurement data matched with reference data from the same datetime of the reference year, to account for seasonal signal variation), alongside real-time reference data from the Rhode Island Department of Environmental Management’s Cranston and East Providence sensor locations.
These methods for characterizing sensor reliability are subsequently applied to the Breathe Providence network’s fine particulate matter (FPM) sensors. FPM is defined as aerosolized particle pollution less than 10 micrometers in diameter; it is classified into size bins of PM1 (<1µm), PM2.5 (<2.5µm), and PM10 (<10µm) and presents unique public health concerns. FPM is linked with higher rates of asthma, decreased lung function, increased heart attack risk, and premature death for individuals with preexisting cardiovascular problems. These adverse effects underlie this project’s investigation of sensor reliability and data quality assurance.
To characterize the long-term deployment reliability of Breathe Providence Network CO and FPM sensors using existing frameworks.
To develop a new framework for sensor reliability characterization that minimally relies on external reference measurements.
To test this developed framework against existing reliability characterizations.
To apply this new framework to the Breathe Providence Network and report findings.
Using the reliability characterization method proposed by Winter et. al., correlation statistics are plotted over duration of deployment for [the Myron sensor]. We find strong residual correlation with reference for this particular sensor over time, however this method does not generalize to data from sensor locations which do not have reliable reference measurements. We therefore estimate the probability density function (PDF) of sensor observations for each month of deployment and characterize the divergence between reference and measurement distributions using Kullback-Liebler, Hellinger, and Euclidean divergences. PDFs are estimated via a discrete histogram approximation with bin width set to 0.05 ppm; this approximation granularity was found to be necessary to reduce sensor noise uptake in the distribution estimation and to prevent floating-point arithmetic underflow. Since low-cost sensors are likely to be inaccurate at high temperature and relative humidity values, we compare residual correlation and PDF divergence with and without a meteorological filter which excludes observations at Temp > 30°C and RH > 0.75.
Junior studying
Mathematics and
Computer Science
OBJECTIVES
Introduction to Our Monitors page on breatheprovidence.com.
Left to Right, Top to Bottom: [CAPTION HERE]
METHODS